# Typical Specifications

Series PSD – Furnish and install directly on the suction inlet of each pumping unit a PACO Series PSD Suction Diffuser with flanges cast iron body and flow straightening vanes. Diffuser shall be quipped with a permanent strainer constructed of perforated stainless steel and a stainless steel, disposable start-up screen which shall be removed and disposed of after one month operation. Diffuser shall be compatible with pump suction inlet size and pipe size.